| Item # | SUB CATEGORY FOR: |
| --- | --- |
|  | 010 Car Enclosures |
| 11 | Emergency stop switch |
| 12 | Capacity and data plates |
| 13 | Signs in freight elevator |
| 14 | Car enclosures walls ( condition ) |
| 15 | Ventilation of elevators / passenger ( ) freight ( ) |
| 16 | No smoking signs |
| 17 | Side emergency exits |
| 18 | Car emergency signal (two way comm.) |
| 19 | Car door or gate electric contacts |
| 20 | Closed position of car door or gate |
| 21 | Power opening of doors or gates |
| 22 | Car operating panel/markings |
| 23 | Anti-creep/leveling |
| 24 | Certification posting |
| 25 | Door re-opening device |
| 26 | Fire exit signs |
| 27 | Collapsible gate passenger elevator |
| 28 | Collapsible gate, freight elevator |
| 29 | Car lighting |
| 30 | Fire phase II switch |
| 31 | Car platform ( ) flooring ( ) sill ( ) |
| 32 | Power closing of doors or gates/door closing force |
| 33 | Car ceiling condition ( ) clearance to floor ( ) to exit ( ) |
| 34 | Closing speed of power doors |
| 35 | Floating platform |
| 36 | Car enclosure to accept rescue litter |
| 37 | Car emergency lighting |
| 38 | Guards for lights |
| 39 | Tripping hazard car floor |
| 40 | Restrictive opening device |
| 41 | Firemen phase II operating procedures |
| 42 | Fireman phase II operation |
| 43 | Replace missing and/or secure hardware |
| 44 | Stop switxhes |
| 45 | Operating control devices |
| 46 | Car vision panel |
| 47 | Signs & operating device symbols |
| 48 | Rated load & platform area |
| 49 | Car ride |
| 50 | Certificate holder |
|  | 100 Inside the Hoist Way |
| 101 | Traveling cables |
| 102 | Speed limiting switches |
| 103 | Windows in hoist way/Projections/Recesses/Setbacks |
| 104 | Governor rope |
| 105 | Car & counterweight top clearance |
| 106 | Hoist way dimensions and clearance |
| 107 | Final/Normal terminal stopping device |
| 108 | Replace broken or missing parts and secure loose hardware |
| 109 | Foreign equipment in hoist way |
| 110 | Traveling cables supports |
| 111 | Car run-by down |
| 112 | Counterweight |
| 113 | Counterweight safeties |
| 114 | Car run-by up |
| 115 | Hoist way door fire tabs bent down |
| 116 | Hoist way door interlocks |
| 117 | Hoist way door fire rating label |
| 118 | Construction of hoist way |
| 119 | Floor over hoist way |
| 120 | Venting of hoist way |
| 121 | Guide rails and fastenings |
| 122 | Raceway and wiring in hoist way |
| 123 | Pipes and ducts in hoist way (foreign equipment) |
| 124 | Landing sill guards |
| 125 | Guarding of moving parts ( sheaves ) |
| 126 | Main electric feeders in hoist way |
| 127 | Ledges in hoist way |
| 128 | Grouting |
| 129 | Leveling switches |
| 130 | Wire ways in hoist way |
| 131 | Electrical supports in hoist way (raceways or cables) |
| 132 | Cleaning, hoist way |
| 133 | Wiring methods |
| 134 | Lubrication of rails (slide guide shoes) |
| 135 | Rack fasteners |
| 136 | Enclosure of live parts in hoist ways |
| 137 | Restrictive door opening device hoist way |
| 138 | Condition of rack (hoist way) |
| 139 | Self closing hoist way doors |
| 140 | Smoke detector |
| 141 | Secondary deflector sheaves |
| 142 | Car frame & stiles |
| 143 | Governor rope & carrier |
| 144 | Wire rope fastening & hitch plate |
| 145 | Suspenion ropes |
| 146 | Broken rope,chain,or tape switch |
| 147 | Deflector sheave |
| 148 | Sprinkler head(s) guard(s) ( ) remove ( ) relocate ( ) |
|  | 150 Top of Car |
| 151 | Recycle operation (multiple or telescopic plungers) |
| 152 | Top of car barricade-guard rail etc. |
| 153 | Top of car operating device - stop sw ( ) light ( ) |
| 154 | Top emergency exit / switch |
| 155 | Refuse space on car top |
| 156 | Condition of pinion (rack) |
| 157 | Restrictive door opening device |
| 158 | Cross head data plate |
| 159 | Suspension rope - hitch ( ) replacement ( ) |
| 160 | Wire rope data plate / date tag |
| 161 | Wire rope sockets |
| 162 | Wiring on car top |
| 163 | Guide shoes |
| 164 | Enclose moving and electrical parts |
| 165 | Cleaning, top of car |
| 166 | Top of car light ( ) outlet ( ) |
|  | 200 Outside Hoist Way |
| 201 | Car platform guard |
| 202 | Power closing of hoist way doors |
| 203 | Sequence operation |
| 204 | Hoist way enclosure |
| 205 | Types of entrance |
| 206 | Vision panels |
| 207 | Hoist way door locking device |
| 208 | Elevator parking device |
| 209 | Access to hoist way |
| 210 | Emergency power system |
| 211 | Access to pit |
| 212 | Leveling of car |
| 213 | Fire exit signs |
| 214 | Fire service phase 1 key |
| 215 | Fire service phase 1 operation procedures sign |
| 216 | Smoke sensor in lobbies/landings |
| 217 | Tripping hazard at lobby sill |
| 218 | Illumination in elevator lobbies |
| 219 | Terminal landing (locked) |
| 220 | Electrical live parts enclosed |
| 221 | Wiring methods |
| 222 | Car light source fused ( ) breakers ( ) separate circuit |
| 223 | Electrical equipment in garages & similar occupancies |
| 224 | Suspension of travel cables |
| 225 | Metal raceways attached to cars |
| 226 | Electric elevators grounding |
| 227 | Replace missing and/or secure hardware |
| 228 | Landing sills (flush) condition |
| 229 | Standard hoist way protection |
| 230 | No smoking signs and/or receptacles |
| 231 | Fire service phase I operation recall |
|  | 300 Machine Room and Machinery Spaces |
| 301 | Access to machine rooms and machinery spaces |
| 302 | Access and egress |
| 303 | Access door |
| 304 | Head room in machinery spaces |
| 305 | Lighting in machine room & machinery spaces |
| 306 | Ventilation of machinery and control spaces |
| 307 | Enclosure of machine room spaces |
| 308 | Guarding of exposed equipment |
| 309 | Physical ground, electrical equipment |
| 310 | Voltage limitations to machine and controls |
| 311 | Main line disconnects |
| 312 | Numbering of machines and disconnects switches |
| 313 | Governor sealed |
| 314 | Brakes conditions |
| 315 | Pumps |
| 316 | Relief valves (sealed) new valves |
| 317 | Flexible hose and fittings ( date tag ) |
| 318 | Tank oil level indicators (gauge) |
| 319 | Drip pans |
| 320 | Piping and supports |
| 321 | Control valves and / or check valves |
| 322 | Pressure tanks |
| 323 | Cleaning of machine room ( rags )/Housekeeping |
| 324 | Sprinkler head shut off valve / guard / piping |
| 325 | Drum limits ( ) slack cable ( ) |
| 326 | Phase protection or phase failure |
| 327 | Fire extinguisher |
| 328 | Smoke sensors operation ( ) condition ( ) |
| 329 | Enclosed live parts ( ducts and controls |
| 330 | Wiring methods ( flex and rigid conduit ) |
| 331 | Raceway terminal fittings |
| 332 | Wire ways |
| 333 | Disconnecting means (insight of equipment ) |
| 334 | Over current protection |
| 335 | Guarding equipment ( unauthorized access to equipment ) |
| 336 | Clearance around control panels |
| 337 | Clearance over machines/sheaves/&or equipment |
| 338 | Gate valve hydro-system |
| 339 | Visual check of gears and bearings |
| 340 | Remove foreign equipment |
| 341 | Provide guard rail and/or kick guard |
| 342 | Controller----repair or replace |
| 343 | Post rated load on floor in mr |
| 344 | Sprinkler head guard |
| 345 | Clearance around equipment ( 28 in. ) |
| 346 | Shut trip / heat detectors / electrical disconnect |
| 347 | Traction drive machine |
| 348 | Motor generator |
| 349 | Traction sheaves |
| 350 | Code data plate |
| 351 | Maintenance log |
|  | 400 Pit |
| 401 | Access (key hole) |
| 402 | Illumination ( guard / switch ) |
| 403 | Stop switch |
| 404 | Compensating sheave switch |
| 405 | Minimum pit depth |
| 406 | Floor of pit, level |
| 407 | Cylinder air relief |
| 408 | Light guard |
| 409 | Cylinder oil collection |
| 410 | Pipes, valves & fittings |
| 411 | Piping & supports |
| 412 | Plunger fastening |
| 413 | Cylinder condition / packing leaks |
| 414 | Clean or remove water |
| 415 | Catwalk or inspection platform |
| 416 | Governor tail sheave tension (car/counterweight) |
| 417 | Traveling cable protection |
| 418 | Sump pump cover |
| 419 | Traveling cables attachment |
| 420 | Bottom clearance for car / refuse area |
| 421 | Counterweight run by |
| 422 | Construction of oil buffers/spring buffers/solid buffers |
| 423 | Oil buffer plunger return |
| 424 | Oil buffer oil level gage |
| 425 | Oil buffer data plate |
| 426 | Spring buffer data plate |
| 427 | Solid bumpers |
| 428 | Bottom plunger clearance |
| 429 | Buffer switches (type c safeties) |
| 430 | Car safeties /switch |
| 431 | Pit ladder |
| 432 | Marking plate for safeties |
| 433 | Counterweight guard |
| 434 | Protection of space below pit/ counterweight safeties |
| 435 | Normal terminal stopping devices |
| 436 | Final terminal stopping devices |
| 437 | Guard between pits |
| 438 | Wiring methods |
| 439 | Mechanical stop (rack & pinion) |
| 440 | Platform structure |
| 441 | Replace missing and/or secure hardware |
| 442 | Provide car and/or CWT buffer (s) |
| 443 | Compensation device chains ( ) ropes ( ) sheaves ( ) weights ( ) |
| 444 | Smoke detector |
| 445 | Maximum counterweight runby tag |
| 446 | Sprinkler head guard |
|  | 500 Escalators and Moving Walks |
| 501 | Penetration of fire resistive separation |
| 502 | Means of egress |
| 503 | Full enclosure |
| 504 | Kiosk |
| 505 | Automatic rolling shutter |
| 506 | Sprinklers |
| 507 | Spray nozzles |
| 508 | Other approved fire stops |
| 509 | Upper and lower areas within one room |
| 510 | Upper & lower areas connected by open stairways |
| 511 | Protection of trusses & machinery spaces |
| 512 | Ventilation of machine & control spaces |
| 513 | Angle of inclination |
| 514 | Step and or tread way width |
| 515 | Escalator width |
| 516 | Handrails, distance between |
| 517 | Balustrades construction |
| 518 | Balustrades, glass or plastic |
| 519 | Balustrades, width between |
| 520 | Guards at ceiling intersections |
| 521 | Skirt panel surface |
| 522 | Skirt panel clearance |
| 523 | Handrails ( condition/speed ) |
| 524 | Steps and tread way grooving |
| 525 | Repair broken complete and or threshold plates |
| 526 | Machinery space and access |
| 527 | Trusses, girders and step wheel tracks |
| 528 | Step chains |
| 529 | Step chain tightening devices |
| 530 | Tread way supports |
| 531 | Tread way, type of |
| 532 | Balustrades, extension beyond tread way ends |
| 533 | Barricades for entrances to esco /moving walk |
| 534 | Warning signs |
| 535 | Code data plate |
| 536 | Outdoor protection |
| 537 | Signs |
| 538 | Tandom operation |
| 539 | Pallets,pallet chains, & trusses |
|  | 550 Escalator & Mov Wlk Driving Machine, Motor & Brake |
| 551 | Driving motor |
| 552 | Connection between drive machine & main drive shaft |
| 553 | Brake on the main drive shaft |
| 554 | Brake on the drive machine |
| 555 | Additional brake on the main drive shaft |
| 556 | No brakes required on level tread way |
| 557 | Brake application |
|  | 560 Operating and Safety Devices |
| 561 | Key operated starting switch (es) |
| 562 | Emergency stop buttons |
| 563 | Speed governor |
| 564 | Broken chain devices |
| 565 | Broken main drive chain device |
| 566 | Friction device for the anti-reversal of ascending stairs |
| 567 | Step lighting over head and throughout |
| 568 | Stop switch in the machinery spaces |
| 569 | Skirt obstruction device |
| 570 | Closing rolling shutter stop switch |
| 571 | Step demarcation lights |
| 572 | Step lateral displacement device |
| 573 | Comb impact device |
| 574 | Egress restriction device |
| 575 | Broken treadway device |
| 576 | Reversal stop switch |
| 577 | Step upthrust device |
| 578 | Missing step device |
| 579 | Step level device |
| 580 | Handrail speed monitoring device |
| 581 | Handrail entry device |
| 582 | Pallet level device |
| 583 | Missing pallet device |
| 584 | Deck plate switches |
| 572 | Power interruption device |
|  | 600 Vertical Wheelchair Lifts (Handicapped) |
| 601 | Posting handicapped signs |
| 602 | Runway enclosure provided |
| 603 | Runway enclosure not provided |
| 604 | Attendant operation /call device and sign |
| 605 | Pipes in runway vicinity |
| 606 | Lower level access ramps & pits |
| 607 | Electrical wiring |
| 608 | Guide rails |
| 609 | Driving means & sheaves |
| 610 | General requirements |
| 611 | Hydraulic driving machines |
| 612 | Screw machines |
| 613 | Machine framework & base |
| 614 | Guiding member enclosures |
| 615 | Machinery beams & supports |
| 616 | Guarding of driving machine & suspension means |
| 617 | Driving machine brakes |
| 618 | Suspension & support means |
| 619 | Turns of ropes on winding drums |
| 620 | Securing suspension ropes to winding drums |
| 621 | Lengthening, splicing, repairing or replacing suspension means |
| 622 | Fastening of rope suspension means to platform |
| 623 | Guarding |
| 624 | Car frame & platform |
| 625 | Use of cast iron load bearing frames/platforms |
| 626 | Platform size |
| 627 | Car illumination |
| 628 | Limitation of load, speed & travel |
| 629 | Capacity plates |
| 630 | Data plates |
| 631 | Safeties & speed governors |
| 632 | Application of safeties |
| 633 | Speed governors |
| 634 | Terminal stopping devices |
| 635 | Key operation |
| 636 | Control & operating circuit requirements |
| 637 | Motor reversal protection |
| 638 | Phase reversal & failure protection |
| 639 | Emergency stop switch |
| 640 | Slack rope & chain devices for winding drum & roller chain driv. mach |
| 641 | Emergency signals |
| 642 | Headroom Clearance |
|  | 650 Inclined Platform Lifts (Handicapped) |
| 651 | Clearances |
| 652 | Pits & ramps |
| 653 | Guide rails & tracks |
| 654 | General requirements |
| 655 | Driving machine brakes |
| 656 | Suspension & support means |
| 657 | Car & platform construction |
| 658 | Platform truck & guides |
| 659 | Platform guarding |
| 660 | Seats |
| 661 | Obstruction devices |
| 662 | Limitations of capacity, load & speed |
| 663 | Limitation of angle |
| 664 | Safeties & speed governors |
| 665 | Attendant operation |
|  | 670 Inclined Stairway Chairlifts (Handicapped) |
| 670 | Guide rails & tracks |
| 671 | General requirements |
| 672 | Chairs & seats |
| 673 | Chair truck & guides |
| 674 | Footrest obstruction device |
| 675 | Footrest clearance |
| 676 | Limitations of capacity, load & speed |
| 677 | Safeties & speed governors |
|  | 700 Special Accessibility Elevator |
|  | Accessibility Type Lifts installed prior to 3/27/97 |
|  | See State of Maryland checklist requirements on web site |
| 701 | Hoist way enclosure (condition) |
| 702 | Hoist way door interlocks |
| 703 | Hoist way door unlocking device (emergency) |
| 704 | Posting handicapped signs |
| 705 | Attendant call station |
| 706 | Car platform level with landing |
| 707 | Access to machine room |
| 708 | Self-closing & self-locking machine room door |
| 709 | Machine room enclosure & door (fire rating) |
| 710 | Machine room light & light switch |
| 711 | Guarding of hoist ropes in machine room |
| 712 | Location of control panel in machine room |
| 713 | Main line disconnect switch in machine room |
| 714 | Driving machine brakes |
| 715 | Idle turns of rope on winding drum machine |
| 716 | Slack rope device for winding drum machine |
| 717 | Phase reversal & failure protection |
| 718 | Electrical wiring & equipment |
| 719 | Remove foreign equipment (mach. rm, hoist way) |
| 720 | Car enclosure & frames |
| 721 | Car doors or gates |
| 722 | Car lighting |
| 723 | Key operation |
| 724 | Capacity plate, data plate & certificate frame |
| 725 | Alarm bell |
| 726 | Emergency lighting |
| 727 | Stop switch |
| 728 | Telephone in car |
| 729 | Car platform area (max 12 sq ft) |
| 730 | Capacity (max 700 lbs) |
| 731 | Car speed (max 40 ft per min) |
| 732 | Pit maintenance |
| 733 | Spring buffers & buffer supports |
| 734 | Mechanical stop in pit & sign |
| 735 | Counterweights |
| 736 | Terminal stopping devices |
| 737 | Suspension ropes |
| 738 | Travel of lift (max 12 ft) |
| 739 | Vertical car clearances |
| 740 | Horizontal car clearances |
| 741 | Maintenance, car, hoist way, pit, machine room |
| 742 | Safety test with load |
|  | 900 Tests |
|  | General |
| 901 | Provide required test tags on equipment (governor/safety/buffers) |
| 902 | Smoke detector (s) tests hoist way ( ) pit ( ) m r ( ) |
|  | Roped |
| 903 | Drop test ( 5yr ) |
| 904 | Counterweight safeties |
| 905 | Governor |
| 906 | Governor over speed switch |
| 907 | Level of car platform |
| 908 | Oil buffer |
| 909 | Car safety mechanism switch |
| 910 | Car safeties (condition / pull out / slide )Unintended movement/Ascending car |
| 911 | Operation under fire or other emergency conditions |
| 912 | Elevator brake test (125% ) |
| 913 | Operation on emergency power ( 125% ) |
| 914 | Drum machine slack rope switch |
| 915 | Governor jaws pull thru test/pull out test |
| 916 | One Year Traction Test |
| 917 | Emergency speed limiting device |
| 918 | Running tests with no load cable units one year |
| 919 | Rated speed test |
| 920 | Ascending car |
| 921 | Unintended movement |
| 922 | Type test-required on new designs (125% load )safety-em. gen.-brake |
|  | Hydraulic |
| 940 | Relief valve |
| 941 | Full load test working pressure ( ) static ( ) |
| 942 | Stop ring |
| 943 | Recycle/Low oil |
| 944 | Set test no load ( ) one year static ( ) |
| 945 | Previous order (s) not completed |
| 946 | Pressure switch |
| 947 | Low oil |
| 948 | One Year Hydraulic Test |
|  | Escalator |
| 950 | Escalator brake test ( torque ) |
| 951 | Comb impact device |
|  | 970 Sealed / Removed |
| 971 | Unsafe elevator and/or equipment (unit sealed) |
| 972 | Elevator equipment completely removed (dismantled) |
| 973 | Building structure removed |
| 974 | Remove hoisting ropes/land car & counterweights |
| 975 | Elevator equipment partly removed |
|  | 980 Miscellaneous |
| 980 | Work orders rescinded - see comments |
| 981 | Inspectors notes |
| 982 | No item to describe violation |
| 983 | Repairs and replacements of damaged, broken or worn parts |
| 984 | Not registered/current certificate not posted |
| 985 | Unit changed new reg # check site st for new reg # |
| 986 | No inspection bldg vacant ( ) unable to gain access |
| 987 | Equipment not covered by ansi a17.1 code |
| 988 | Other orders maybe written |
| 989 | Temporary workmen hoist |
| 990 | Operator required for workmen/personnel hoist |