# Text boxes

THE BOILER ROOM IS FOR THE BOILER.

Keep the Boiler Room clean and clear of all unnecessary items. The Boiler Room should not become an all-purpose storage area.

Train all personnel who operate the Boiler on all equipment, controls, safety devices and operating procedures. A Maryland Stationary Engineer License is required for equipment over 30 Boiler Horsepower.

Before start up ensure that the Boiler Room is free of all potentially dangerous situations, like flammable materials and mechanical or physical damage to the Boiler or related Equipment. Check for deterioration and possible leaks.

Ensure the air intakes and exhaust vents are clear of obstruction.

Deadly Carbon Monoxide will be produced if the Burner does not have adequate air circulation in order to prevent incomplete fuel combustion.

DLLR

Division of Labor and Industry

Boiler Safety Inspection Unit

1100 North Eutaw St, Room 605

# Baltimore, Maryland 21201

410-767-2330

boilers@dllr.state.md.us

www.dllr.state.md.us/labor/safety/boil.shtml

Lawrence J. Hogan

Governor

## Boyd K. Rutherford

Lt. Governor

Kelly M. Schulz

Secretary

We are here for your protection.

KEEP YOUR BOILER ROOM SAFE

Objective: To educate the public on the safe and proper use of Boilers and Pressure Vessels.

A SAFE BOILER ROOM

Ensure a thorough inspection by a properly qualified inspector.

After every extensive repair or a new installation of equipment, make sure a qualified boiler inspector re-inspects the entire system.

Monitor all equipment closely until safety and efficiency are demonstrated.

Use boiler operating log sheets, maintenance records and manufacturer’s recommendations to establish a preventive maintenance schedule based on operating conditions, past maintenance, repair, and replacement that were performed on the equipment.

- Keep your Boiler Room clean.

- Keep a check on leakages and rectify without delay.

- Don’t store flammables in the Boiler Room.

- In an emergency, remain calm and use the emergency devices .

- In case of fire, operate Emergency cut off switch.

- Maintain a Boiler Operation Log.

- Keep the Boiler Room ventilated.

120110 1813 Boiler brochure General.doc

Establish a check list for proper start up and shut down for boilers and all related equipment according to manufacturer’s recommendations.

Before allowing an automated operation system to be used with minimal supervision, observe equipment extensively.

Establish a periodic preventive maintenance program that follows CSD-1 Part CM and manufacturer’s recommendations.