# Text boxes

Do Not----

---Operate a boiler which is not constructed in accordance with the American Society of Mechanical Engineers (ASME)

Boiler & Pressure Vessel Code.

---Operate a boiler unless it is equipped with a safety valve with sufficient relieving capacity, set at or below the maximum allowable working pressure.

---Bypass the pressure controls, temperature controls, low water cutout, flame safety or any other limit switch or control.

---Restrict the function of a safety valve, such as by reducing or plugging the outlet or inlet, painting or removing it.

--- Leave the boiler room unattended.

KEEP YOUR BOILER ROOM SAFE

High Pressure Boilers

Objective: To educate the public on the safe and proper use of High Pressure (Power) Boilers.

DLLR

Division of Labor and Industry

Boiler Safety Inspection Unit

1100 North Eutaw St, Room 605

# Baltimore, Maryland 21201

410-767-2330

boilers@dllr.state.md.us

www.dllr.state.md.us/labor/safety/boil.shtml

Lawrence J. Hogan

Governor

## Boyd K. Rutherford

Lt. Governor

Kelly M. Schulz

Secretary

We are here for your protection.

A SAFE BOILER ROOM

Do Not---

---Permit unqualified personnel to operate a boiler. Maryland Stationary Engineers License is required over 30 BHP Capacity.

---Operate a boiler without an adequate source of combustion air.

--- Operate a boiler without a valid Certificate of Inspection issued by Safety Inspection Unit

DLLR State of Maryland.

--- Store flammables in the Boiler Room.

.

Do---

---Respect the boiler it can be dangerous.

---Have the boiler inspected internally annually, as required by State Law.

---Report to the Chief Boiler Inspector for the boilers to be installed, at least 30 days prior to installation.

---Test safety devices on a periodic basis (as recommended by CSD-1 or NFPA 85) and log the tests.

---Inspect the boiler daily for proper operation.

--- Allow only authorized (“R” stamp holder) repair firms to make weld repairs.

120110 1808 Boiler brochure High Press Boiler.doc

Do---

- Keep your Boiler Room clean.

- Keep a check on leakages and rectify without delay.

- In an emergency, remain calm and use the emergency devices.

- In case of fire operate Emergency cut off switch.

- Maintain a Log of Boiler Operations, Maintenance, Repairs, and Tests.

- Keep the Boiler Room ventilated.