STATE BOARD OF PLUMBING

BUSINESS MEETING

MINUTES

Date: 		January 21, 2021

Time: 		10:30 a.m.

Location: 	500 N. Calvert Street

Room 302

Baltimore, MD 21202

Joining Info: 	By Phone via Teleconference

1-414-909-7588 (PIN: 385820141)

Members Present:	Joseph Radtka, Chair

Richard Bowers, Board Member

Keith Horton, Board Member

Gregory Schott, Board Member

Roland Mann, Board Member

Richard J. Small, Board Member

Michael Bowersox, Board Member

Absent: 	None

LABOR Officials & Staff Present:

Gregory Morgan, Commissioner, Division of O & P Licensing

Robin Bailey, Executive Director, Mechanical Licensing Boards

Sloane Fried Kinstler, Assistant Attorney General

Raquel M. Meyers, Administrative Officer

OTHERS PRESENT:  	Shawn Strausbaugh, ICC

Jonathan Sargeant, Omegaflex

Dick Wagner, J. Richard Wagner PE LLC

Diane Kastner, MDPHCC

CALL TO ORDER:

Chair, Joseph Radtka, called the Business Meeting of the Maryland State Board of Plumbing to order, virtually, at 10:34 a.m.

APPROVAL OF MINUTES

The members reviewed the minutes of the Business Meeting held on December 17, 2020. Upon Mr. Schott’s Motion, and Mr. Bowers’ second, by a roll call vote, the Board unanimously voted to approve the minutes without amendment or correction.

PLUMBING COMPLAINTS

Mr. Schott presented the following report on behalf of the Complaint Committee:

Closed Complaints	Investigation	 	Precharge

Plum-21-0008		Plum-21-0022		Plum-21-0010

Plum-21-0023					Plum 21-0016

Plum-21-0027

Upon Mr. Bowers’ Motion, and Mr. Small’s second, by a roll call vote, the Board unanimously voted to approve the Complaint Committee report.

REVIEW OF EXAMINATION STATISTICS AND LICENSE TOTALS

PSI Exams submitted the following statistical summaries for November, 2020:

Plumber		                   Candidates        	Passed		Failed	     	     Pass %

Tested

| Journey Natural Gas Fitter | 2 | 0 | 2 | 0% |
| --- | --- | --- | --- | --- |
| Journey Plumber/Gas Fitter | 8 | 6 | 2 | 75% |
| Master Natural Gas Fitter | 0 | 0 | 0 | 0% |
| Master Plumber/Gas Fitter | 5 | 1 | 4 | 20% |
| TOTAL | 15 | 7 | 8 | 47% |

Ms. Bailey reported that 15 candidates were tested in November 2020, 7 passed, 8 failed with a 47% passing rate. Since January 2006, the pass rate is 36%, and since the inception of the test the overall passing rate is 36%. There are currently 15,340 active licensees.

OLD BUSINESS

Omegaflex Product Approval

Mr. Radtka inquired whether the Board wished to discuss this topic further. Shawn Strausbaugh deferred to Chair for further discussion. Mr. Radtka stated that the Board does not approve products.  Mr. Strausbaugh clarified the PMG reports. He referenced these reports at the previous meeting. This Board discussed the product’s compliance with an applicable standard but does not necessarily comply with code requirements at this time. Mr. Strausbaugh stated that the piping cam only complies with the standard. Mr. Strausbuagh discussed with the Board the inside layer of PE and aluminum layer of PE. Mr. Schott stated that he has not seen this piping in use but believes meets the standard. Mr. Sargeant clarified that the product is not OmegaFlex and that his company makes a different product. The Board discussed whether the material is IFCG-compliant. Mr. Radtka stated that it does state the specific Codes which includes IFGC. Mr. Bowersox requested that the Board wait for IPC to approval. It has been submitted to the Code Council for approval. He further suggested that this matter be referred to code compliance professionals with regard into the IFGC. Mr. Radtka agreed with Mr. Bowersox. The Chair reiterated that the Board does not approve products. Mr. Strausbaugh stated that the Code Council closed on January 11, 2021 and the Code may no longer be modified at this time. A revised standard may not be incorporated into the IFCG until the 2024 edition. The Code Council meeting only includes the framework and does not include any other Codes. Mr. Wagner inquired whether this product applies to a standard. Mr. Radtka stated that this product does comply with ASCM. After a brief discussion, it was determined that the product will not be recognized until it has been approved by the IFGC.

NEW BUSINESS

None offered.

CORRESPONDENCE

Legislative Policy

Ms. Bailey stated that the Board was provided copy of the 2021 Legislative Policy prior to the meeting. She explained that the testimony before the legislature will be conducted virtually this year. She requested to review the memorandum. She emphasized that, all members of occupational and professional licensing boards are required to comply with requirements in the memorandum. Any member of the Board may testify on legislation related to Labor or as a private citizen. Members must complete the required form and inform the Secretary’s Office in advance. Ms. Bailey referred to Mr. Morgan for comments on this Legislative Policy.  There were no comments at this time.

COUNSEL’S REPORT

None offered.

CHAIR’S REPORT

Mr. Radtka wished everyone a safe and healthy New Year!

EXECUTIVE DIRECTOR’S REPORT

Ms. Bailey expressed similar sentiments as Mr. Radtka. She wished everyone a happy and healthy New Year! There are no updates on the move for the agency at this time. She will share updates as they become available.

CLOSED SESSION

Upon Mr. Schott’s Motion, and Mr. Bowersox’s second, the Board unanimously agreed to enter into Closed Session, pursuant to § 3-305(b)(7) and (8) of the General Provisions Article, Maryland Annotated Code, at 11:04 a.m., in the 3rd Floor Conference Room, 500 N. Calvert Street, Baltimore, MD 21202, in order to discuss advice of Counsel regarding pending litigation and consider the Proposed Decision of an Administrative Law Judge (“ALJ”) following a hearing in LABOR Case No: PLUM-190072, Office of Administrative Hearings (OAH) Case No: DLR-PLB-65-20-05363. The closed session was conducted via telephone due to the state health emergency.

The Board considered and discussed the ALJ’s Findings of Fact, Conclusions of Law and Recommended Order. The Respondent was charged with violating Md. Ann. Code, Bus. Occ. & Prof., §§ 12-301(a) and 12-601, by offering and providing plumbing services at a residential home without the required license. The ALJ further concluded that that Respondent is subject to a monetary penalty of $2,500 for performing plumbing services without a license. Md. Code Ann., Bus. Occ. & Prof. § 12-607 (d).

Motion was made by Mr. Small, seconded by Mr. Schott, and the Board unanimously voted approve and affirm the factual findings, legal conclusions, and recommendations of the ALJ, including that a $2,500 civil monetary penalty be imposed against the Respondent and that he be deemed ineligible for licensure until such penalty is paid in full in Case No.: PLUM-190072/OAH Case No: DLR-PLB-65-20-05363.

Motion was made by Mr. Bowersox, seconded by Mr. Schott, and the Board unanimously voted that the Board reconvene in the Business Meeting at 11:21 a.m. Upon completion of the Closed Session the Board reconvened the public meeting at 11:21 a.m.

APPROVAL OF FINDINGS OF CLOSED SESSION

The members reviewed the findings of the Closed Session held on January 21, 2021. Upon 
Mr. Bowersox’s Motion, and Mr. Mann’s second, by roll call vote, the Board unanimously voted to approve the findings of the Closed Session.

ADJOURNMENT

Upon Mr. Bowersox’s Motion, and Mr. Mann’s second, by roll call vote, the Board unanimously carried to adjourn meeting at 11:25 a.m.

_________________________			__________________________

Chair, Joseph Radtka  				Date

Without Corrections ______				with Corrections ______