- MOSH INSTRUCTION

| INSTRUCTION NUMBER: 10-13 | EFFECTIVE DATE: January 3, 2011 |
| --- | --- |
| SUBJECT: Fall Protection for Residential Construction | ISSUANCE DATE: November 18, 2010 |
| CANCELLATION: MOSH Instruction 03-2 | EXPIRATION DATE: None |

Purpose:	This instruction cancels MOSH Instruction 03-2, Interim Compliance Guidelines for Fall Protection for Residential Construction, 29 CFR 1926, Subpart M

Scope:	This instruction applies MOSH-wide.

References:	 None

Contact:	Chief of MOSH Compliance Services

See MOSH Website for Current Information

http://www.dllr.maryland.gov/labor/mosh.html

- By and Under the Authority of

- Eric M. Uttenreither

Assistant Commissioner

- Summary

Employers engaged in residential/“residential—like” construction shall comply with fall protection requirements in accordance with 29 CFR 1926, Subpart M – Fall Protection. These employers must use a conventional fall protect system or have a written fall protection plan when engaged in the following activities: installation of floor joists, floor sheathing, and erecting exterior walls; work on concrete block walls, concrete walls, and related form work; work activities performed in attics and on roofs; erection of roof trusses and rafters, installation of roof sheathing and roofing work.

When an employer demonstrates that the use of a guardrail systems, safety net system, or personal fall protection system is infeasible or creates a greater hazard to employees, the use of a fall protection plan that complies with 1926.502(k) is permitted by 1926.501(b)(13). However, the burden of proof is on the employer to prove infeasibility or greater hazard. It is the position of MOSH that there are very few, if any, situations where a fall protection system cannot be used.

- MOSH INSTRUCTION 10-13

November 15, 2010

Page 2

Action:	1. The Assistant Commissioner or authorized representative shall ensure compliance with

this instruction.

- Compliance and Consultation supervisors shall ensure that this instruction is reviewed with all Compliance Safety and Health Officers (CSHOs).

- It is strongly recommended that CSHOs consult with their supervisor before accepting the use of a fall protection plan.

________________________________________				____/____/____

Eric M. Uttenreither, Assistant Commissioner					Date

cc:	J. Ronald DeJuliis, Commissioner, Division of Labor and Industry

Craig D. Lowry, Deputy Commissioner, Division of Labor and Industry

Jonathan Krasnoff, Assistant Attorney General

Office of Administrative Hearings